| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver aluminium supporting flange Limaflex® and install it in accordance with the installation instructions of the manufacturer.. Flexible special profile which can be extended by profile connection elements, with a smooth side and top edge. Profile type: Straight with guide for profile anchors and profile connectors Art. nr.: P12N25, P12N50 Profile height: 120 mm Profile thickness: 5.5 mm Length: 2,500 mm (or rather: 5,000 mm) Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . m | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver aluminium shock connectors appropriate for profile type Limaflex® and use them in accordance with the installation instructions of the manufacturer. Article: Shock connectors for optional connection of profiles P12N25 + P12N50 in the upper profile area Art. nr.: V12N10 Length: 100 mm Colour: Aluminium natural colour silver-grey Packaging unit: 10 units (VPE) Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver aluminium profile anchor, which can also be used as a shock connector, suitable for profile type Limaflex® and use it in accordance with the installation instructions of the manufacturer. Article: Profile anchor 90° (shock connector) suitable for guiding in a support ring and pine holing Art. nr.: PVA40, PVA60 Profile height: 35 mm Width: 40 mm (bzw. 60 mm) Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver aluminium concrete and ground anchor with eloxal surface hardening and holding anchor structure - which can also be used as a shock connector (appropriate for profile type Limaflex®) and use it in accordance with the installation instructions of the manufacturer. Article: concrete and ground anchor (shock connector) appropriate for fastening the support ring in concrete (with point or strip base) Art. nr.: PBA40, PBA60 Profile height: 35 mm + 80 mm (mounting depth) Length: 40 mm (or rather: 60 mm) Colour: Aluminium anodised E6EV1 Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver corner element made of aluminum, appropriate for profile type Limaflex® and use it in accordance with the installation instructions of the manufacturer. Article: Corner element (outer corner 90°) for non-positive connection of the profile lengths Art. nr.: EV12N90 Profile height: 120 mm Length: 100 mm + 100 mm Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver corner element made of aluminum, appropriate for profile type Limaflex® and use it in accordance with the installation instructions of the manufacturer. Article: corner element (inner corner 270°) for non-positive connection of the profile lengths Art. nr.: EV12N270 Profile height: 120 mm Length: 100 mm + 100 mm Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver arch element Limaflex® and install it in accordance with the installation instructions of the manufacturer. Flexible special profile which can be extended by profile connection elements, with a smooth side and top edge. Profile type: arch element, profile segment pre-bent in radii in the factory Art. nr.: P12N Profile height: 120 mm Profile thickness: 5 mm Length: up to 2,000 mm as cut Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver steel peg, suitable for 90° mullions PA/PVA for support ring Limaflex® and use it in accordance with the installation instructions of the manufacturer. Art. nr.: EN18ST, EN23ST Diameter: 6 mm Length: 180 mm (or rather: 230 mm) Material: Steel, galvanised Packaging unit: 50 units (VPE) Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |