| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver path and bedding demarcation made out of aluminium (profile Viaflex®) and transfer it in accordance with the installation instructions of the manufacturer. Flexible, telescoping special profile with a blunted top and wedge-shaped lower edge. Profile type: straight with hole punching for peg (or rather: without hole punching) Art. nr.: P10N25, P10NL25, P10N50, P10NL50 Profile height: approx. 97 mm Length: 2,500 mm (or rather: 5,000 mm) Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . m | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver path and bedding demarcation made out of aluminium (profile Viaflex®) and transfer it in accordance with the installation instructions of the manufacturer. Flexible, telescoping special profile with a blunted top and wedge-shaped lower edge. Article: Arch Art. nr.: B10N05, B10N10, B10N15 Profile height: approx. 97 mm Length: Ø approx. 500 / 1,000 mm full circle with installation opening (or rather: Ø approx. 1,500 mm made of two semicircles which can be pushed into one another) incl. one or two shock connectors Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver aluminium shock connector suitable for profile type Viaflex® and use it in accordance with the installation instructions of the manufacturer. Article: shock connector Art. nr.: V10N10 Profile height: approx. 90 mm (approx. 10 mm less than Sachsenband; meaning that it is hardly visible after installation) Length: 100 mm Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver corner connector made of aluminium, suitable for profile type Viaflex® and use it in accordance with the installation instructions of the manufacturer. Article: Corner connector as external corner 90° Art. nr.: EV10N90 Profile height: approx. 97 mm Length: ca. 75 + 75 mm Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver corner connector made of aluminium, suitable for profile type Viaflex® and use it in accordance with the installation instructions of the manufacturer. Article: Corner connector as internal corner 270° Art. nr.: EV10N270 Profile height: approx. 97 mm Length: ca. 75 + 75 mm Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver T-connector made of aluminium, suitable for profile type Viaflex® and use it in accordance with the installation instructions of the manufacturer.. Article: T-connectors, in pairs Art. nr.: TV10N75 Profile height: approx. 97 mm Length: approx. 75 + 75 + 75 mm Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver aluminium peg, suitable for path and bedding demarcation, made out of aluminium, profile Viaflex® with hole punching and use it in accordance with the installation instructions of the manufacturer.. Rounded, top edge with locking nose, bottom edge with tapering. Art. nr.: EN30, EN40 Length: 300 mm (or rather: 400 mm) Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver profile bracket, suitable for path and bedding demarcation, made out of aluminium, profile Viaflex® and use it in accordance with the installation instructions of the manufacturer. Art. nr.: PH80, PH30 Length: 80 mm or 30 mm Height: 25 mm Round hole: Ø 7.5 mm Colour: Aluminium natural colour silver-grey Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 / 5179050 Fax +49 (0) 4101 / 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |