| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver path and bedding demarcation made out of Corten steel, profile Cortiflex®, and transfer it in accordance with the installation instructions of the manufacturer. Flexible profile with square holes for the screwing of concrete and ground anchors, as well as additional accessories. Article: Straight with 6 anchor connection screw holes Art. nr.: C160N24 Profile height: 160 mm Length: 2.400 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . m | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver concrete and ground anchor as well as Corten steel connector, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Concrete and ground anchor with 6 anchor / connection screw holes for fixing of 105 mm and 160 mm profiles Art. nr.: CBA15 Width: 30-120 mm Length: 300 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| ### Position | Capacity | Volume | EP in € | GP in € |
| . . . . . . . . | Deliver concrete and ground anchor as well as Corten steel connector, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Concrete and ground anchor with 2 anchor / connection screw holes for fixing of 105 mm, 160 mm and 300 mm profiles Art. nr.: CBA10 Width: 30 mm Length: 200 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver concrete and ground anchor as well as Corten steel connector, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Concrete and ground anchor with 2 anchor / connection screw holes for fixing of 105 mm, 160 mm and 300 mm profiles, canted 90° for gravel base course Art. nr.: CKA10 Width: 30 mm Length: 146 mm Height: 57 mm Thickness: 3 mm Hole punching: Ø 9 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver corner connector made of Corten steel, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Corner element 90° with 2 anchor / connection screw holes with each leg Art. nr.: CEV160N90 Profile height: 160 mm Length: 300 + 300 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver connector made of Corten steel for profile connections, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Connector with 4 anchor / connection screw holes Art. nr.: CV140 Profile height: 60 mm Length: 140 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver connector made of Corten steel, for additional outgoing profile connections, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Connector 90° with 2 anchor / connection screw holes with each leg Art. nr.: CV90 Profile height: 60 mm Length: 70 mm + 70 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver connector made of Corten steel, for additional outgoing profile connections, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Connector 45° with 2 anchor / connection screw holes with each leg Art. nr.: CV45 Profile height: 60 mm Length: 70 mm + 70 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver screw with washer and nut made of stainless steel V2A, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Screw M8, washer + nut Art. nr.: SV2AM8024 Length: approx. 20 mm Material: V2A Packaging unit: 24 units per set (set) Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Sets | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver screw with washer and nut made of stainless steel V2A, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Screw M8, washer + nut Art. nr.: SV2AM8100 Length: approx. 20 mm Material: V2A Packaging unit: 100 units per set (set) Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Sets | . . . . . . . | . . . . . . . |