| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver path and bedding demarcation made out of Corten steel, profile Cortiflex®, and transfer it in accordance with the installation instructions of the manufacturer. Profile with square holes for the screwing of concrete and ground anchors, as well as additional accessories. Article: Straight with 6 anchor connection screw holes Art. nr.: C300N24 Profile height: 300 mm Length: 2.400 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . m | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver concrete and ground anchor as well as Corten steel connector, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Concrete and ground anchor with 6 anchor / connection screw holes for fixing of 300 mm profiles Art. nr.: CBA25 Width: 30-120 mm Length: 300 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| ### Position | Capacity | Volume | EP in € | GP in € |
| . . . . . . . . | Deliver concrete and ground anchor as well as Corten steel connector, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Concrete and ground anchor with 2 anchor / connection screw holes for fixing of 105 mm, 160 mm and 300 mm profiles Art. nr.: CBA10 Width: 30 mm Length: 200 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver concrete and ground anchor as well as Corten steel connector, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Concrete and ground anchor with 2 anchor / connection screw holes for fixing of 105 mm, 160 mm and 300 mm profiles, canted 90° for gravel base course Art. nr.: CKA10 Width: 30 mm Length: 146 mm Height: 57 mm Thickness: 3 mm Hole punching: Ø 9 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver corner connector made of Corten steel, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Corner element 90° with 2 anchor / connection screw holes with each leg Art. nr.: CEV300N90 Profile height: 300 mm Length: 300 + 300 mm Thickness: 5 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver connector made of Corten steel for profile connections, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Connector with 4 anchor / connection screw holes Art. nr.: CV140 Profile height: 60 mm Length: 140 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| ### Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver connector made of Corten steel, for additional outgoing profile connections, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Connector 90° with 2 anchor / connection screw holes with each leg Art. nr.: CV90 Profile height: 60 mm Length: 70 mm + 70 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver connector made of Corten steel, for additional outgoing profile connections, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Connector 45° with 2 anchor / connection screw holes with each leg Art. nr.: CV45 Profile height: 60 mm Length: 70 mm + 70 mm Thickness: 3 mm Colour: Steel grey, rusting Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . . Units | . . . . . . . | . . . . . . . |

| Position | Capacity | Volume | EP in € | GP in € |
| --- | --- | --- | --- | --- |
| . . . . . . . . | Deliver screw with washer and nut made of stainless steel V2A, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Screw M8, washer + nut Art. nr.: SV2AM8024 Length: approx. 20 mm Material: V2A Packaging unit: 24 units per set (set) Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Sets | . . . . . . . | . . . . . . . |
| . . . . . . . . | Deliver screw with washer and nut made of stainless steel V2A, suitable for profile type Cortiflex® and use it in accordance with the installation instructions of the manufacturer. Article: Screw M8, washer + nut Art. nr.: SV2AM8100 Length: approx. 20 mm Material: V2A Packaging unit: 100 units per set (set) Manufacturer: Sachsenband Metalltechnik GmbH Grothwisch 8 D-25482 Appen, Hamburg Tel. +49 (0) 4101 5179050 Fax +49 (0) 4101 5179051 E-mail: info@sachsenband.de |  |  |  |
|  |  | . . . . . . . . . . Sets | . . . . . . . | . . . . . . . |